## Sheet1
Cooling System PMR
Activity Type - Cooling System PMR, SiteID - 1000009 ,Region - Central , O&M Vendor - Ericsson , Power Model - Hybrid , Schedule Date - 06-Feb-2026 , Activity Done Date - 06-Feb-2026 , Technician Name & Mobile Number - super admin ( 9898976789 )
S.No. | Check List | Status | Remarks | Reviewer Status | Reviewer Remarks
1 | Air Condition 1 Fault Alarm | Ok |  | Ok
2 | Air Condition 2 Fault Alarm | Ok |  | Ok
3 | High Humidity Alarm | 11 |  | 11
4 | Check High Temperature alarm | Ok |  | Ok
5 | HVAC auto operation | Ok |  | Ok
6 | A/C1 filter status | Ok |  | Ok
7 | A/C1 High Pressure Setting | Ok |  | Ok
8 | A/C1 Low Pressure Setting | 11 |  | 11
9 | A/C1 Humidity | 11 |  | 11
10 | A/C2 filter status | 11 |  | 11
11 | A/C2 High Pressure Setting | Ok |  | Ok
12 | A/C2 Low Pressure Setting | 11 |  | 11
13 | A/C2 Humidity | 11 |  | 11
14 | Check input voltage and Current available at aircondiioner | Ok |  | Ok
15 | A/C outlets status | 11 |  | 11
16 | Freon Air Conditioner Reading | 11 |  | 11
17 | Is Capex Maintenance required | Yes |  | Yes
18 | QR_Code | 263721 |  | 263721