## Sheet1
Cooling System PMR
Activity Type - Cooling System PMR, SiteID - 1000100 ,Region - West , O&M Vendor - Huawei , Power Model - Hybrid , Schedule Date - 07-Apr-2023 , Activity Done Date - , Technician Name & Mobile Number - super admin ( 9898976789 )
S.No. | Check List | Status | Remarks
Cooling System
1 | Air Condition 1 Fault Alarm | Ok
2 | Air Condition 2 Fault Alarm | Ok
3 | High Humidity Alarm | 11
4 | Check High Temperature alarm | Ok
5 | HVAC auto operation | Ok
6 | A/C1 filter status | Ok
7 | A/C1 High Pressure Setting | Ok
8 | A/C1 Low Pressure Setting | 11
9 | A/C1 Humidity | 11
10 | A/C2 filter status | 11
11 | A/C2 High Pressure Setting | Ok
12 | A/C2 Low Pressure Setting | 11
13 | A/C2 Humidity | 11
14 | Check input voltage and Current available at aircondiioner | Ok
15 | A/C outlets status | 11
16 | Freon Air Conditioner Reading | 11
17 | Is Capex Maintenance required | Yes
18 | QR_Code | 000263721